## spec
№пп | Описание товара |  |  | ед. изм | кол-во
1 | Acess Point
| AirEngine8760R-X1E(11ax outdoor,Dedicated 3rd Radio,8+8 dual bands,external antenna,BLE,PSE) | 02353GSH-001 | Huawei | шт. | 14
| N1-11ax AP-A-Lic N1-CloudCampus,Advanced,11ax AP,Per Device | 88035LRC | Huawei | шт. | 14
| N1-11ax AP-A-SnS1Y N1-CloudCampus,Advanced,11ax AP,SnS,Per Device,1Year(Annual fee validity period : 1 year from " PO signed plus 90 days ") | 88060HJW | Huawei | шт. | 14
2 | Indoor access point
| AirEngine6761-21(11ax indoor,4+4 dual bands,smart antenna,USB,BLE,Scan) | 02353VUX | Huawei | шт. | 10
| N1-11ax AP-A-Lic N1-CloudCampus,Advanced,11ax AP,Per Device | 88035LRC | Huawei | шт. | 10
| N1-11ax AP-A-SnS1Y N1-CloudCampus,Advanced,11ax AP,SnS,Per Device,1Year(Annual fee validity period : 1 year from " PO signed plus 90 days ") | 88060HJW | Huawei | шт. | 10
4 | Access switch for users and phones
| S5731-H48P4XC (48*10/100/1000BASE-T ports, 4*10GE SFP+ ports, 1*expansion slot, PoE+, without power module) | 02352SVD-004 | Huawei | шт. | 9
| PAC1000S56-CB 1000 W PoE AC&240 V DC Power Module | 02312KND | Huawei | шт. | 18
| N1-S57H-A-SnS-1Y N1-CloudCampus,Advanced,S57XX-H Series,SnS,Per Device,1 Year(Annual fee validity period : 1 year from " 90 days after PO signed ") | 88060RHP | Huawei | шт. | 9
| PAC1000S56-CB 1000W AC Power Module (Air outlet is in front) | 02312KND-001 | Huawei | шт. | 18
| 10GBASE-LR Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | OSX010000 | Huawei | шт. | 18
5 | Beach core and agregation switch
| S6730-H24X6C S6730-H24X6C Bundle (24*10GE SFP+ ports, 6*40GE/100GE QSFP28 ports, with license, without power module) | 02353GFC-004 | Huawei | шт. | 2
| PAC600S12-EB 600W AC Power Module(Back to Front, Power panel side exhaust) | 02312FFU-002 | Huawei | шт. | 4
| N1-S67H-A-Lic N1-CloudCampus,Advanced,S67XX-H Series,Per Device | 88035VWL | Huawei | шт. | 2
| N1-S67H-A-SnS-1Y N1-CloudCampus,Advanced,S67XX-H Series,SnS,Per Device,1 Year(Annual fee validity period : 1 year from " 90 days after PO signed ") | 88060RHH | Huawei | шт. | 2
| QSFP28-100G-CU1M QSFP28,100G,High Speed Direct-attach Cables, 1m, (QSFP28), CC8P0.254B(S), QSFP28, Used indoor | 02311KNW | Huawei | шт. | 2
| 10GBASE-LR Optical Transceiver,SFP+,10G,Single-mode Module(1310nm,10km,LC) | OSX010000 | Huawei | шт. | 18
| QSFP28-100G-LR4 100GBase-LR4 Optical Transceiver,QSFP28,100G,Single-mode module (1310nm,10km,LC) | 02313URT | Huawei | шт. | 4
6. Оборудование ИБП
| UPS,UPS2000-H-10KRTL-L,Single phase/Three phase input single phase output,Tower or Rack,Long,0h,220/230/240VAC,50/60Hz | 02291103 | huawei | шт | 2
| UPS Monitoring Module,UPS2000- Selective Module,SNMP Card | 02354GJL | huawei | шт | 2
| Temperature sensor,NTC,Cable Length of 2m,2PIN white terminal | 33010323 | huawei | шт | 2
| 1 U static expansion guide rail | 21245590 | huawei | шт | 4
| UPS2000G,Battery Pack,685mm,430mm,130mm,ESS-240V12-9AhBPNBA | 02310QRQ | huawei | шт | 2
| Модуль для измерения температуры и влажности с визуализацией и протоколированием данных / Ethernet/PoE / Modbus TCP / MQTT / IP66 / белый корпус / RoHS — ICP DAS DL-100S-E-W | DL-100S-E-W | ICP DAS | шт | 2